## PA MasterMix
ENTER # PLATES (72 wells each) | 2
PA BufferMix | [5 empty] | # rxns
Reagent | Lot # | [Stock] | [Final] | Units | 1 rxn vol (µl) | 172.8
DNA free Water | 22884100 | - | - | - | 3.35 | 578.88
Titanium PCR Buffer | 1602046A | 10 | 0.125 | x | 0.625 | 108
KCl | - | 1000 | 48 | mM | 2.4 | 414.72
MgCl2 | 449890 | 25 | 2.0625 | mM | 4.125 | 712.8
BSA |  | 20 | 1 | mg/ml | 2.5 | 432
dNTPs | - | 10 | 0.2 | mM each | 1 | 172.8
Titanium Taq | 1607230A | 50 | 1 | x | 1 | 172.8
|  |  |  | volume (µl) | 15 | 2592
|  |  |  | Final volume (µl) | 50
PA MasterMix | [5 empty] | # mplx rxns | # 1plx rxns
Reagent | Lot # | [Stock] | [Final] | Units | 1 rxn vol (µl) | 57.6 | 9.6
DNA free Water | 22884100 | - | - | - | 2.9985 | 172.7136 | 28.7856
PA BufferMix | - | 3.333 | 1 | x | 15.0015 | 864.0864 | 144.0144
Primers |  | 10 | 0.4 | µM each | 2 | 115.2 | 19.2
HgDNA |  | 120 | 60 | ng/ul | 25 | 1440 | 240 | 3ug/rxn
Template |  | 1 | 0.1 | cp/ul | 5 | - | - | 5cp/rxn
|  |  |  | Final volume (µl) | 50 | 2592 | 432

## ID MasterMix
ENTER # PLATES (96 wells each) | 2
ID BufferMix | [5 empty] | # rxns
Reagent | Lot # | [Stock] | [Final] | Units | 1 rxn vol (µl) | 230.4
DNA free Water | 21498000 | - | - | - | 4.736 | 1091.1744
KCl |  | 1000 | 50 | mM | 1 | 230.4
MgCl2 | 454786 | 25 | 2.5 | mM | 2 | 460.8
BSA |  | 20 | 1 | mg/ml | 1 | 230.4
Triton |  | 10 | 0.04 | % | 0.08 | 18.432
SYBRgreen |  | 100 | 0.32 | x | 0.064 | 14.7456
dNTPs | - | 10 | 0.2 | mM each | 0.4 | 92.16
KOH |  | 100 | 1 | mM | 0.2 | 46.08
Titanium Taq | 1607230A | 50 | 1.3 | x | 0.52 | 119.808
|  |  |  | volume (µl) | 10 | 2304
|  |  |  | Final volume (µl) | 20
ID MasterMix | [5 empty] | # rxns
Reagent | Lot # | [Stock] | [Final] | Units | 1 rxn vol (µl) | 28.8
DNA free Water | 21498000 | - | - | - | 4.2 | 120.96
ID BufferMix | - | 2 | 1 | x | 10 | 1209.6
Primers | - | 10 | 0.4 | µM each | 0.8 | 96.768
Template |  | 10 | 2.5 | cp/ul | 5 | - | 50cp/rxn
|  |  |  | Final volume (µl) | 20 | 1427.328
0

## Primers
PrimerMix | PairCode | Forward Working Stock (uM) | Reverse Working Stock (uM) | Forward Final Conc (uM) | Reverse Final Conc (uM) | Primer Stock Plates | Piro Plate
[6 empty] | G07 | 5
poolB1 | Ec_uidA_6.x_Eco63_Eco60 | 10 | 10 | 0.4 | 0.4 | H08 | 6
poolB1 | Efs_cpn60_1.x_Efs04_Efs01 | 10 | 10 | 0.4 | 0.4
poolB1 | Efs_vanB_1.x_van10_van06 | 10 | 10 | 0.4 | 0.4
poolB1 | Efm_vanA_1.x_van05_van01 | 10 | 10 | 0.4 | 0.4
poolB1 | Ko_pehX_1.x_Kox05_Kox02 | 10 | 10 | 0.4 | 0.4
poolB1 | Kp_khe_2.x_Kpn13_Kpn01 | 10 | 10 | 0.4 | 0.4
poolB1 | Pm_zapA_1.x_Pmi01_Pmi05 | 10 | 10 | 0.4 | 0.4
poolB1 | Spo_gp_1.x_Spo09_Spo13 | 10 | 10 | 0.4 | 0.4
Ec_uidA_6.x_Eco63_Eco60 | Ec_uidA_6.x_Eco63_Eco60 | 10 | 10 | 0.4 | 0.4
Efs_cpn60_1.x_Efs04_Efs01 | Efs_cpn60_1.x_Efs04_Efs01 | 10 | 10 | 0.4 | 0.4
Efs_vanB_1.x_van10_van06 | Efs_vanB_1.x_van10_van06 | 10 | 10 | 0.4 | 0.4
Efm_vanA_1.x_van05_van01 | Efm_vanA_1.x_van05_van01 | 10 | 10 | 0.4 | 0.4
Ko_pehX_1.x_Kox05_Kox02 | Ko_pehX_1.x_Kox05_Kox02 | 10 | 10 | 0.4 | 0.4
Kp_khe_2.x_Kpn13_Kpn01 | Kp_khe_2.x_Kpn13_Kpn01 | 10 | 10 | 0.4 | 0.4
Pm_zapA_1.x_Pmi01_Pmi05 | Pm_zapA_1.x_Pmi01_Pmi05 | 10 | 10 | 0.4 | 0.4
Spo_gp_1.x_Spo09_Spo13 | Spo_gp_1.x_Spo09_Spo13 | 10 | 10 | 0.4 | 0.4
Ec_uidA_x.2_Eco64_Eco66 | Ec_uidA_x.2_Eco64_Eco66 | 10 | 10 | 0.4 | 0.4
Efs_cpn60_x.1_Efs03_Efs02 | Efs_cpn60_x.1_Efs03_Efs02 | 10 | 10 | 0.4 | 0.4
Efs_vanB_x.3_van30_van33 | Efs_vanB_x.3_van30_van33 | 10 | 10 | 0.4 | 0.4
Efm_vanA_x.1_van04_van02 | Efm_vanA_x.1_van04_van02 | 10 | 10 | 0.4 | 0.4
Ko_pehX_x.1_Kox04_Kox03 | Ko_pehX_x.1_Kox04_Kox03 | 10 | 10 | 0.4 | 0.4
Kp_khe_x.1_Kpn03_Kpn02 | Kp_khe_x.1_Kpn03_Kpn02 | 10 | 10 | 0.4 | 0.4
Pm_zapA_x.1_Pmi02_Pmi03 | Pm_zapA_x.1_Pmi02_Pmi03 | 10 | 10 | 0.4 | 0.4
Spo_gp_x.1_Spo03_Spo05 | Spo_gp_x.1_Spo03_Spo05 | 10 | 10 | 0.4 | 0.4

## gDNA
OrgLabName | Brand | Lot# | stock ng/ul | required ng/ul | required volume ul | ul stock HgDNA | ul water
HgDNA | Promega |  | 125 | 120 | 1000 | 960 | 40
Qubit reading (ng/ul)
[7 empty] | Prep 1 |  |  | Prep 2
Org | PlateCol | Organism | ARG | Strain ID | genome size bp | copies/ng | Qubit date | Reading 1 | Reading 2 | Reading 3 | Reading 1 | Reading 2 | Reading 3 | stock ng/ul | copies/ul | required copies/ul | required volume ul | ul stock DNA | ul water |  | No of gDNA add in per column
Eco | 1 | Escherichia coli | CTX-M9 TEM-WT | ATCC BAA-2355 | 4600000 | 201404.6823 | 2017-09-18 | 3.14 | 3.12 | 3.12 | 3.12 | 3.1 | 3.1 | 3.1167 | 627711.2598 | 20000 | 50 | 1.5931 | 48.4069 |  | 6
Efs vanB | 2 | Enterococcus faecalis | vanB | ATCC 700802 | 3220000 | 287720.9747 | 2017-09-18 | 13.1 | 12.5 | 12 | 12.2 | 12.1 | 12.1 | 12.3333 | 3548558.6877 | 200000 | 50 | 2.818 | 47.182 | NTC | 30
Efs vanB | 3 | Enterococcus faecalis | vanB | ATCC 700802 |  | #DIV/0! | [7 empty] | #DIV/0! | #DIV/0! | 20000 | 50 | #DIV/0! | #DIV/0! | 50ng HgDNA | 30
Kox | 4 | Klebsiella oxytoca |  | ATCC 15764 | 6684900 | 138590.1866 | [7 empty] | #DIV/0! | #DIV/0! | 20000 | 50 | #DIV/0! | #DIV/0!
Efm vanA | 5 | Enterococcus faecium | vanA | ATCC BAA-2317 | 2698130 | 343371.7198 | 2017-09-18 | 2.2 | 2.2 | 2.18 | 1.96 | 1.96 | 1.96 | 2.0767 | 713068.6049 | 20000 | 50 | 1.4024 | 48.5976
Kpn | 6 | Klebsiella pneumoniae | KPC | ATCC BAA-1705 | 5300000 | 174804.0639 | 2017-09-18 | 9.9 | 9.9 | 9.88 | 11.2 | 11.2 | 11.2 | 10.5467 | 1843600.1935 | 20000 | 100 | 1.0848 | 98.9152
Pmi | 7 | Proteus mirabilis |  | ATCC BAA-633 | 4063000 | 228024.0065 | 2017-09-18 | 4.5 | 4.5 | 4.5 | 4.88 | 4.88 | 4.88 | 4.69 | 1069432.5905 | 20000 | 100 | 1.8702 | 98.1298
Spo | 8 | Schizosaccharomyces pombe |  | ATCC 26189 | 12570000 | 73704.1797 | 2017-09-18 | 9.8 | 9.8 | 9.82 | 8.74 | 8.74 | 8.72 | 9.27 | 683237.7455 | 20000 | 50 | 1.4636 | 48.5364
########## | DO NOT ADD NEW TABLES, NOTES, CALCULATIONS OR ANYTHING ELSE ABOVE THIS ROW
copies/ul | required copies/ul | required volume ul | ul stock DNA | ul water
200000 | 100000 | 20 | 10 | 10
Note on G5: PLEASE UPDATE DNA LOG WITH NEW QUBIT VALUES EACH TIME

## Cycling
| Variable | Value | Unit
PA cycling | activation time | 95 | °C
PA cycling | activation temp | 120 | s
PA cycling | number cycles | 20
PA cycling | denaturation temp | 95 | °C
PA cycling | denaturation time | 10 | s
PA cycling | anneal temp | 62 | °C
PA cycling | anneal time | 10 | s
PA cycling | extend temp | 72 | °C
PA cycling | extend time | 30 | s
ID cycling | activation time | 95 | °C
ID cycling | activation temp | 120 | s
ID cycling | number cycles | 40
ID cycling | denaturation temp | 95 | °C
ID cycling | denaturation time | 20 | s
ID cycling | extend temp | 62 | °C
ID cycling | extend time | 25 | s

## Plan E131_1
Template Version = 1.0
Plate: | A81_E131_1
Date: | 2017-09-18
Comment:
Design Scientist | NC
Lab Scientist: | SP, NB, DP
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Variable
A | Eco | Efs vanB | Efs vanB | Kox | Eco | Efs vanB | Efs vanB | Kox | Eco | Efs vanB | Efs vanB | Kox | Template strain
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Template copies
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | HgDNA (ng)
| poolB1 | poolB1 | poolB1 | poolB1 | Ec_uidA_6.x_Eco63_Eco60 | Efs_cpn60_1.x_Efs04_Efs01 | Efs_vanB_1.x_van10_van06 | Efm_vanA_1.x_van05_van01 |  |  |  |  | PA primers
| 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 |  |  |  |  | Dilution factor
| Ec_uidA_x.2_Eco64_Eco66 | Efs_cpn60_x.1_Efs03_Efs02 | Efs_vanB_x.3_van30_van33 | Efm_vanA_x.1_van04_van02 | Ec_uidA_x.2_Eco64_Eco66 | Efs_cpn60_x.1_Efs03_Efs02 | Efs_vanB_x.3_van30_van33 | Efm_vanA_x.1_van04_van02 | Ec_uidA_x.2_Eco64_Eco66 | Efs_cpn60_x.1_Efs03_Efs02 | Efs_vanB_x.3_van30_van33 | Efm_vanA_x.1_van04_van02 | ID primers
B | Eco | Efs vanB | Efs vanB | Kox | Eco | Efs vanB | Efs vanB | Kox | Eco | Efs vanB | Efs vanB | Kox | Template strain
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Template copies
| 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 |  |  |  |  | HgDNA (ng)
| poolB1 | poolB1 | poolB1 | poolB1 | Ec_uidA_6.x_Eco63_Eco60 | Efs_cpn60_1.x_Efs04_Efs01 | Efs_vanB_1.x_van10_van06 | Efm_vanA_1.x_van05_van01 |  |  |  |  | PA primers
| 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 |  |  |  |  | Dilution factor
| Ec_uidA_x.2_Eco64_Eco66 | Efs_cpn60_x.1_Efs03_Efs02 | Efs_vanB_x.3_van30_van33 | Efm_vanA_x.1_van04_van02 | Ec_uidA_x.2_Eco64_Eco66 | Efs_cpn60_x.1_Efs03_Efs02 | Efs_vanB_x.3_van30_van33 | Efm_vanA_x.1_van04_van02 | Ec_uidA_x.2_Eco64_Eco66 | Efs_cpn60_x.1_Efs03_Efs02 | Efs_vanB_x.3_van30_van33 | Efm_vanA_x.1_van04_van02 | ID primers
C | Eco | Efs vanB | Efs vanB | Kox | Eco | Efs vanB | Efs vanB | Kox | Eco | Efs vanB | Efs vanB | Kox | Template strain
| 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 50 | 50 | 50 | 50 | Template copies
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | HgDNA (ng)
| poolB1 | poolB1 | poolB1 | poolB1 | Ec_uidA_6.x_Eco63_Eco60 | Efs_cpn60_1.x_Efs04_Efs01 | Efs_vanB_1.x_van10_van06 | Efm_vanA_1.x_van05_van01 |  |  |  |  | PA primers
| 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 |  |  |  |  | Dilution factor
| Ec_uidA_x.2_Eco64_Eco66 | Efs_cpn60_x.1_Efs03_Efs02 | Efs_vanB_x.3_van30_van33 | Efm_vanA_x.1_van04_van02 | Ec_uidA_x.2_Eco64_Eco66 | Efs_cpn60_x.1_Efs03_Efs02 | Efs_vanB_x.3_van30_van33 | Efm_vanA_x.1_van04_van02 | Ec_uidA_x.2_Eco64_Eco66 | Efs_cpn60_x.1_Efs03_Efs02 | Efs_vanB_x.3_van30_van33 | Efm_vanA_x.1_van04_van02 | ID primers
D | Eco | Efs vanB | Efs vanB | Kox | Eco | Efs vanB | Efs vanB | Kox | Eco | Efs vanB | Efs vanB | Kox | Template strain
| 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 50 | 50 | 50 | 50 | Template copies
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | HgDNA (ng)
| poolB1 | poolB1 | poolB1 | poolB1 | Ec_uidA_6.x_Eco63_Eco60 | Efs_cpn60_1.x_Efs04_Efs01 | Efs_vanB_1.x_van10_van06 | Efm_vanA_1.x_van05_van01 |  |  |  |  | PA primers
| 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 |  |  |  |  | Dilution factor
| Ec_uidA_x.2_Eco64_Eco66 | Efs_cpn60_x.1_Efs03_Efs02 | Efs_vanB_x.3_van30_van33 | Efm_vanA_x.1_van04_van02 | Ec_uidA_x.2_Eco64_Eco66 | Efs_cpn60_x.1_Efs03_Efs02 | Efs_vanB_x.3_van30_van33 | Efm_vanA_x.1_van04_van02 | Ec_uidA_x.2_Eco64_Eco66 | Efs_cpn60_x.1_Efs03_Efs02 | Efs_vanB_x.3_van30_van33 | Efm_vanA_x.1_van04_van02 | ID primers
E | Eco | Efs vanB | Efs vanB | Kox | Eco | Efs vanB | Efs vanB | Kox | Eco | Efs vanB | Efs vanB | Kox | Template strain
| 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 500 | 500 | 500 | 500 | Template copies
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | HgDNA (ng)
| poolB1 | poolB1 | poolB1 | poolB1 | Ec_uidA_6.x_Eco63_Eco60 | Efs_cpn60_1.x_Efs04_Efs01 | Efs_vanB_1.x_van10_van06 | Efm_vanA_1.x_van05_van01 |  |  |  |  | PA primers
| 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 |  |  |  |  | Dilution factor
| Ec_uidA_x.2_Eco64_Eco66 | Efs_cpn60_x.1_Efs03_Efs02 | Efs_vanB_x.3_van30_van33 | Efm_vanA_x.1_van04_van02 | Ec_uidA_x.2_Eco64_Eco66 | Efs_cpn60_x.1_Efs03_Efs02 | Efs_vanB_x.3_van30_van33 | Efm_vanA_x.1_van04_van02 | Ec_uidA_x.2_Eco64_Eco66 | Efs_cpn60_x.1_Efs03_Efs02 | Efs_vanB_x.3_van30_van33 | Efm_vanA_x.1_van04_van02 | ID primers
F | Eco | Efs vanB | Efs vanB | Kox | Eco | Efs vanB | Efs vanB | Kox | Eco | Efs vanB | Efs vanB | Kox | Template strain
| 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 500 | 500 | 500 | 500 | Template copies
| 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 0 | 0 | 0 | 0 | HgDNA (ng)
| poolB1 | poolB1 | poolB1 | poolB1 | Ec_uidA_6.x_Eco63_Eco60 | Efs_cpn60_1.x_Efs04_Efs01 | Efs_vanB_1.x_van10_van06 | Efm_vanA_1.x_van05_van01 |  |  |  |  | PA primers
| 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 |  |  |  |  | Dilution factor
| Ec_uidA_x.2_Eco64_Eco66 | Efs_cpn60_x.1_Efs03_Efs02 | Efs_vanB_x.3_van30_van33 | Efm_vanA_x.1_van04_van02 | Ec_uidA_x.2_Eco64_Eco66 | Efs_cpn60_x.1_Efs03_Efs02 | Efs_vanB_x.3_van30_van33 | Efm_vanA_x.1_van04_van02 | Ec_uidA_x.2_Eco64_Eco66 | Efs_cpn60_x.1_Efs03_Efs02 | Efs_vanB_x.3_van30_van33 | Efm_vanA_x.1_van04_van02 | ID primers
G | Eco | Efs vanB | Efs vanB | Kox | Eco | Efs vanB | Efs vanB | Kox | Eco | Efs vanB | Efs vanB | Kox | Template strain
| 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5000 | 5000 | 5000 | 5000 | Template copies
| 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 0 | 0 | 0 | 0 | HgDNA (ng)
| poolB1 | poolB1 | poolB1 | poolB1 | Ec_uidA_6.x_Eco63_Eco60 | Efs_cpn60_1.x_Efs04_Efs01 | Efs_vanB_1.x_van10_van06 | Efm_vanA_1.x_van05_van01 |  |  |  |  | PA primers
| 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 |  |  |  |  | Dilution factor
| Ec_uidA_x.2_Eco64_Eco66 | Efs_cpn60_x.1_Efs03_Efs02 | Efs_vanB_x.3_van30_van33 | Efm_vanA_x.1_van04_van02 | Ec_uidA_x.2_Eco64_Eco66 | Efs_cpn60_x.1_Efs03_Efs02 | Efs_vanB_x.3_van30_van33 | Efm_vanA_x.1_van04_van02 | Ec_uidA_x.2_Eco64_Eco66 | Efs_cpn60_x.1_Efs03_Efs02 | Efs_vanB_x.3_van30_van33 | Efm_vanA_x.1_van04_van02 | ID primers
H | Eco | Efs vanB | Efs vanB | Kox | Eco | Efs vanB | Efs vanB | Kox | Eco | Efs vanB | Efs vanB | Kox | Template strain
| 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5000 | 5000 | 5000 | 5000 | Template copies
| 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 0 | 0 | 0 | 0 | HgDNA (ng)
| poolB1 | poolB1 | poolB1 | poolB1 | Ec_uidA_6.x_Eco63_Eco60 | Efs_cpn60_1.x_Efs04_Efs01 | Efs_vanB_1.x_van10_van06 | Efm_vanA_1.x_van05_van01 |  |  |  |  | PA primers
| 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 |  |  |  |  | Dilution factor
| Ec_uidA_x.2_Eco64_Eco66 | Efs_cpn60_x.1_Efs03_Efs02 | Efs_vanB_x.3_van30_van33 | Efm_vanA_x.1_van04_van02 | Ec_uidA_x.2_Eco64_Eco66 | Efs_cpn60_x.1_Efs03_Efs02 | Efs_vanB_x.3_van30_van33 | Efm_vanA_x.1_van04_van02 | Ec_uidA_x.2_Eco64_Eco66 | Efs_cpn60_x.1_Efs03_Efs02 | Efs_vanB_x.3_van30_van33 | Efm_vanA_x.1_van04_van02 | ID primers

## Plan E131_2
Template Version = 1.0
Plate: | A81_E131_2
Date: | 2017-09-18
Comment:
Design Scientist | NC
Lab Scientist: | SP, NB, DP
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Variable
A | Efm | Kpn | Pmi | Spo | Efm | Kpn | Pmi | Spo | Efm | Kpn | Pmi | Spo | Template strain
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Template copies
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | HgDNA (ng)
| poolB1 | poolB1 | poolB1 | poolB1 | Ko_pehX_1.x_Kox05_Kox02 | Kp_khe_2.x_Kpn13_Kpn01 | Pm_zapA_1.x_Pmi01_Pmi05 | Spo_gp_1.x_Spo09_Spo13 |  |  |  |  | PA primers
| 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 |  |  |  |  | Dilution factor
| Ko_pehX_x.1_Kox04_Kox03 | Kp_khe_x.1_Kpn03_Kpn02 | Pm_zapA_x.1_Pmi02_Pmi03 | Spo_gp_x.1_Spo03_Spo05 | Ko_pehX_x.1_Kox04_Kox03 | Kp_khe_x.1_Kpn03_Kpn02 | Pm_zapA_x.1_Pmi02_Pmi03 | Spo_gp_x.1_Spo03_Spo05 | Ko_pehX_x.1_Kox04_Kox03 | Kp_khe_x.1_Kpn03_Kpn02 | Pm_zapA_x.1_Pmi02_Pmi03 | Spo_gp_x.1_Spo03_Spo05 | ID primers
B | Efm | Kpn | Pmi | Spo | Efm | Kpn | Pmi | Spo | Efm | Kpn | Pmi | Spo | Template strain
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Template copies
| 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 0 | 0 | 0 | 0 | HgDNA (ng)
| poolB1 | poolB1 | poolB1 | poolB1 | Ko_pehX_1.x_Kox05_Kox02 | Kp_khe_2.x_Kpn13_Kpn01 | Pm_zapA_1.x_Pmi01_Pmi05 | Spo_gp_1.x_Spo09_Spo13 |  |  |  |  | PA primers
| 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 |  |  |  |  | Dilution factor
| Ko_pehX_x.1_Kox04_Kox03 | Kp_khe_x.1_Kpn03_Kpn02 | Pm_zapA_x.1_Pmi02_Pmi03 | Spo_gp_x.1_Spo03_Spo05 | Ko_pehX_x.1_Kox04_Kox03 | Kp_khe_x.1_Kpn03_Kpn02 | Pm_zapA_x.1_Pmi02_Pmi03 | Spo_gp_x.1_Spo03_Spo05 | Ko_pehX_x.1_Kox04_Kox03 | Kp_khe_x.1_Kpn03_Kpn02 | Pm_zapA_x.1_Pmi02_Pmi03 | Spo_gp_x.1_Spo03_Spo05 | ID primers
C | Efm | Kpn | Pmi | Spo | Efm | Kpn | Pmi | Spo | Efm | Kpn | Pmi | Spo | Template strain
| 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 50 | 50 | 50 | 50 | Template copies
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | HgDNA (ng)
| poolB1 | poolB1 | poolB1 | poolB1 | Ko_pehX_1.x_Kox05_Kox02 | Kp_khe_2.x_Kpn13_Kpn01 | Pm_zapA_1.x_Pmi01_Pmi05 | Spo_gp_1.x_Spo09_Spo13 |  |  |  |  | PA primers
| 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 |  |  |  |  | Dilution factor
| Ko_pehX_x.1_Kox04_Kox03 | Kp_khe_x.1_Kpn03_Kpn02 | Pm_zapA_x.1_Pmi02_Pmi03 | Spo_gp_x.1_Spo03_Spo05 | Ko_pehX_x.1_Kox04_Kox03 | Kp_khe_x.1_Kpn03_Kpn02 | Pm_zapA_x.1_Pmi02_Pmi03 | Spo_gp_x.1_Spo03_Spo05 | Ko_pehX_x.1_Kox04_Kox03 | Kp_khe_x.1_Kpn03_Kpn02 | Pm_zapA_x.1_Pmi02_Pmi03 | Spo_gp_x.1_Spo03_Spo05 | ID primers
D | Efm | Kpn | Pmi | Spo | Efm | Kpn | Pmi | Spo | Efm | Kpn | Pmi | Spo | Template strain
| 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 50 | 50 | 50 | 50 | Template copies
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | HgDNA (ng)
| poolB1 | poolB1 | poolB1 | poolB1 | Ko_pehX_1.x_Kox05_Kox02 | Kp_khe_2.x_Kpn13_Kpn01 | Pm_zapA_1.x_Pmi01_Pmi05 | Spo_gp_1.x_Spo09_Spo13 |  |  |  |  | PA primers
| 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 |  |  |  |  | Dilution factor
| Ko_pehX_x.1_Kox04_Kox03 | Kp_khe_x.1_Kpn03_Kpn02 | Pm_zapA_x.1_Pmi02_Pmi03 | Spo_gp_x.1_Spo03_Spo05 | Ko_pehX_x.1_Kox04_Kox03 | Kp_khe_x.1_Kpn03_Kpn02 | Pm_zapA_x.1_Pmi02_Pmi03 | Spo_gp_x.1_Spo03_Spo05 | Ko_pehX_x.1_Kox04_Kox03 | Kp_khe_x.1_Kpn03_Kpn02 | Pm_zapA_x.1_Pmi02_Pmi03 | Spo_gp_x.1_Spo03_Spo05 | ID primers
E | Efm | Kpn | Pmi | Spo | Efm | Kpn | Pmi | Spo | Efm | Kpn | Pmi | Spo | Template strain
| 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 500 | 500 | 500 | 500 | Template copies
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | HgDNA (ng)
| poolB1 | poolB1 | poolB1 | poolB1 | Ko_pehX_1.x_Kox05_Kox02 | Kp_khe_2.x_Kpn13_Kpn01 | Pm_zapA_1.x_Pmi01_Pmi05 | Spo_gp_1.x_Spo09_Spo13 |  |  |  |  | PA primers
| 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 |  |  |  |  | Dilution factor
| Ko_pehX_x.1_Kox04_Kox03 | Kp_khe_x.1_Kpn03_Kpn02 | Pm_zapA_x.1_Pmi02_Pmi03 | Spo_gp_x.1_Spo03_Spo05 | Ko_pehX_x.1_Kox04_Kox03 | Kp_khe_x.1_Kpn03_Kpn02 | Pm_zapA_x.1_Pmi02_Pmi03 | Spo_gp_x.1_Spo03_Spo05 | Ko_pehX_x.1_Kox04_Kox03 | Kp_khe_x.1_Kpn03_Kpn02 | Pm_zapA_x.1_Pmi02_Pmi03 | Spo_gp_x.1_Spo03_Spo05 | ID primers
F | Efm | Kpn | Pmi | Spo | Efm | Kpn | Pmi | Spo | Efm | Kpn | Pmi | Spo | Template strain
| 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 500 | 500 | 500 | 500 | Template copies
| 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 0 | 0 | 0 | 0 | HgDNA (ng)
| poolB1 | poolB1 | poolB1 | poolB1 | Ko_pehX_1.x_Kox05_Kox02 | Kp_khe_2.x_Kpn13_Kpn01 | Pm_zapA_1.x_Pmi01_Pmi05 | Spo_gp_1.x_Spo09_Spo13 |  |  |  |  | PA primers
| 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 |  |  |  |  | Dilution factor
| Ko_pehX_x.1_Kox04_Kox03 | Kp_khe_x.1_Kpn03_Kpn02 | Pm_zapA_x.1_Pmi02_Pmi03 | Spo_gp_x.1_Spo03_Spo05 | Ko_pehX_x.1_Kox04_Kox03 | Kp_khe_x.1_Kpn03_Kpn02 | Pm_zapA_x.1_Pmi02_Pmi03 | Spo_gp_x.1_Spo03_Spo05 | Ko_pehX_x.1_Kox04_Kox03 | Kp_khe_x.1_Kpn03_Kpn02 | Pm_zapA_x.1_Pmi02_Pmi03 | Spo_gp_x.1_Spo03_Spo05 | ID primers
G | Efm | Kpn | Pmi | Spo | Efm | Kpn | Pmi | Spo | Efm | Kpn | Pmi | Spo | Template strain
| 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5000 | 5000 | 5000 | 5000 | Template copies
| 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 0 | 0 | 0 | 0 | HgDNA (ng)
| poolB1 | poolB1 | poolB1 | poolB1 | Ko_pehX_1.x_Kox05_Kox02 | Kp_khe_2.x_Kpn13_Kpn01 | Pm_zapA_1.x_Pmi01_Pmi05 | Spo_gp_1.x_Spo09_Spo13 |  |  |  |  | PA primers
| 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 |  |  |  |  | Dilution factor
| Ko_pehX_x.1_Kox04_Kox03 | Kp_khe_x.1_Kpn03_Kpn02 | Pm_zapA_x.1_Pmi02_Pmi03 | Spo_gp_x.1_Spo03_Spo05 | Ko_pehX_x.1_Kox04_Kox03 | Kp_khe_x.1_Kpn03_Kpn02 | Pm_zapA_x.1_Pmi02_Pmi03 | Spo_gp_x.1_Spo03_Spo05 | Ko_pehX_x.1_Kox04_Kox03 | Kp_khe_x.1_Kpn03_Kpn02 | Pm_zapA_x.1_Pmi02_Pmi03 | Spo_gp_x.1_Spo03_Spo05 | ID primers
H | Efm | Kpn | Pmi | Spo | Efm | Kpn | Pmi | Spo | Efm | Kpn | Pmi | Spo | Template strain
| 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5000 | 5000 | 5000 | 5000 | Template copies
| 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 0 | 0 | 0 | 0 | HgDNA (ng)
| poolB1 | poolB1 | poolB1 | poolB1 | Ko_pehX_1.x_Kox05_Kox02 | Kp_khe_2.x_Kpn13_Kpn01 | Pm_zapA_1.x_Pmi01_Pmi05 | Spo_gp_1.x_Spo09_Spo13 |  |  |  |  | PA primers
| 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 |  |  |  |  | Dilution factor
| Ko_pehX_x.1_Kox04_Kox03 | Kp_khe_x.1_Kpn03_Kpn02 | Pm_zapA_x.1_Pmi02_Pmi03 | Spo_gp_x.1_Spo03_Spo05 | Ko_pehX_x.1_Kox04_Kox03 | Kp_khe_x.1_Kpn03_Kpn02 | Pm_zapA_x.1_Pmi02_Pmi03 | Spo_gp_x.1_Spo03_Spo05 | Ko_pehX_x.1_Kox04_Kox03 | Kp_khe_x.1_Kpn03_Kpn02 | Pm_zapA_x.1_Pmi02_Pmi03 | Spo_gp_x.1_Spo03_Spo05 | ID primers

## Plate Layout E131_1
Template Version = 1.0
Plate: | A81_E131_1
Date: | 2017-09-18
Comment:
Design Scientist | NC
Lab Scientist: | SP, NB, DP
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Variable
A | Eco | Efs vanB | Efs vanB |  | Eco | Efs vanB | Efs vanB |  | Eco | Efs vanB | Efs vanB |  | Template strain
| 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | Template copies
| 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | HgDNA (ng)
| poolB1 | poolB1 | poolB1 |  | Ec_uidA_6.x_Eco63_Eco60 | Efs_cpn60_1.x_Efs04_Efs01 | Efs_vanB_1.x_van10_van06 | [5 empty] | PA primers
| 30 | 30 | 30 |  | 30 | 30 | 30 | [5 empty] | Dilution factor
| Ec_uidA_x.2_Eco64_Eco66 | Efs_cpn60_x.1_Efs03_Efs02 | Efs_vanB_x.3_van30_van33 |  | Ec_uidA_x.2_Eco64_Eco66 | Efs_cpn60_x.1_Efs03_Efs02 | Efs_vanB_x.3_van30_van33 |  | Ec_uidA_x.2_Eco64_Eco66 | Efs_cpn60_x.1_Efs03_Efs02 | Efs_vanB_x.3_van30_van33 |  | ID primers
B | Eco | Efs vanB | Efs vanB |  | Eco | Efs vanB | Efs vanB |  | Eco | Efs vanB | Efs vanB |  | Template strain
| 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | Template copies
| 3000 | 3000 | 3000 |  | 3000 | 3000 | 3000 |  | 0 | 0 | 0 |  | HgDNA (ng)
| poolB1 | poolB1 | poolB1 |  | Ec_uidA_6.x_Eco63_Eco60 | Efs_cpn60_1.x_Efs04_Efs01 | Efs_vanB_1.x_van10_van06 | [5 empty] | PA primers
| 30 | 30 | 30 |  | 30 | 30 | 30 | [5 empty] | Dilution factor
| Ec_uidA_x.2_Eco64_Eco66 | Efs_cpn60_x.1_Efs03_Efs02 | Efs_vanB_x.3_van30_van33 |  | Ec_uidA_x.2_Eco64_Eco66 | Efs_cpn60_x.1_Efs03_Efs02 | Efs_vanB_x.3_van30_van33 |  | Ec_uidA_x.2_Eco64_Eco66 | Efs_cpn60_x.1_Efs03_Efs02 | Efs_vanB_x.3_van30_van33 |  | ID primers
C | Eco | Efs vanB | Efs vanB |  | Eco | Efs vanB | Efs vanB |  | Eco | Efs vanB | Efs vanB |  | Template strain
| 5 | 5 | 5 |  | 5 | 5 | 5 |  | 50 | 50 | 50 |  | Template copies
| 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | HgDNA (ng)
| poolB1 | poolB1 | poolB1 |  | Ec_uidA_6.x_Eco63_Eco60 | Efs_cpn60_1.x_Efs04_Efs01 | Efs_vanB_1.x_van10_van06 | [5 empty] | PA primers
| 30 | 30 | 30 |  | 30 | 30 | 30 | [5 empty] | Dilution factor
| Ec_uidA_x.2_Eco64_Eco66 | Efs_cpn60_x.1_Efs03_Efs02 | Efs_vanB_x.3_van30_van33 |  | Ec_uidA_x.2_Eco64_Eco66 | Efs_cpn60_x.1_Efs03_Efs02 | Efs_vanB_x.3_van30_van33 |  | Ec_uidA_x.2_Eco64_Eco66 | Efs_cpn60_x.1_Efs03_Efs02 | Efs_vanB_x.3_van30_van33 |  | ID primers
D | Eco | Efs vanB | Efs vanB |  | Eco | Efs vanB | Efs vanB |  | Eco | Efs vanB | Efs vanB |  | Template strain
| 5 | 5 | 5 |  | 5 | 5 | 5 |  | 50 | 50 | 50 |  | Template copies
| 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | HgDNA (ng)
| poolB1 | poolB1 | poolB1 |  | Ec_uidA_6.x_Eco63_Eco60 | Efs_cpn60_1.x_Efs04_Efs01 | Efs_vanB_1.x_van10_van06 | [5 empty] | PA primers
| 30 | 30 | 30 |  | 30 | 30 | 30 | [5 empty] | Dilution factor
| Ec_uidA_x.2_Eco64_Eco66 | Efs_cpn60_x.1_Efs03_Efs02 | Efs_vanB_x.3_van30_van33 |  | Ec_uidA_x.2_Eco64_Eco66 | Efs_cpn60_x.1_Efs03_Efs02 | Efs_vanB_x.3_van30_van33 |  | Ec_uidA_x.2_Eco64_Eco66 | Efs_cpn60_x.1_Efs03_Efs02 | Efs_vanB_x.3_van30_van33 |  | ID primers
E | Eco | Efs vanB | Efs vanB |  | Eco | Efs vanB | Efs vanB |  | Eco | Efs vanB | Efs vanB |  | Template strain
| 5 | 5 | 5 |  | 5 | 5 | 5 |  | 500 | 500 | 500 |  | Template copies
| 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | HgDNA (ng)
| poolB1 | poolB1 | poolB1 |  | Ec_uidA_6.x_Eco63_Eco60 | Efs_cpn60_1.x_Efs04_Efs01 | Efs_vanB_1.x_van10_van06 | [5 empty] | PA primers
| 30 | 30 | 30 |  | 30 | 30 | 30 | [5 empty] | Dilution factor
| Ec_uidA_x.2_Eco64_Eco66 | Efs_cpn60_x.1_Efs03_Efs02 | Efs_vanB_x.3_van30_van33 |  | Ec_uidA_x.2_Eco64_Eco66 | Efs_cpn60_x.1_Efs03_Efs02 | Efs_vanB_x.3_van30_van33 |  | Ec_uidA_x.2_Eco64_Eco66 | Efs_cpn60_x.1_Efs03_Efs02 | Efs_vanB_x.3_van30_van33 |  | ID primers
F | Eco | Efs vanB | Efs vanB |  | Eco | Efs vanB | Efs vanB |  | Eco | Efs vanB | Efs vanB |  | Template strain
| 5 | 5 | 5 |  | 5 | 5 | 5 |  | 500 | 500 | 500 |  | Template copies
| 3000 | 3000 | 3000 |  | 3000 | 3000 | 3000 |  | 0 | 0 | 0 |  | HgDNA (ng)
| poolB1 | poolB1 | poolB1 |  | Ec_uidA_6.x_Eco63_Eco60 | Efs_cpn60_1.x_Efs04_Efs01 | Efs_vanB_1.x_van10_van06 | [5 empty] | PA primers
| 30 | 30 | 30 |  | 30 | 30 | 30 | [5 empty] | Dilution factor
| Ec_uidA_x.2_Eco64_Eco66 | Efs_cpn60_x.1_Efs03_Efs02 | Efs_vanB_x.3_van30_van33 |  | Ec_uidA_x.2_Eco64_Eco66 | Efs_cpn60_x.1_Efs03_Efs02 | Efs_vanB_x.3_van30_van33 |  | Ec_uidA_x.2_Eco64_Eco66 | Efs_cpn60_x.1_Efs03_Efs02 | Efs_vanB_x.3_van30_van33 |  | ID primers
G | Eco | Efs vanB | Efs vanB |  | Eco | Efs vanB | Efs vanB |  | Eco | Efs vanB | Efs vanB |  | Template strain
| 5 | 5 | 5 |  | 5 | 5 | 5 |  | 5000 | 5000 | 5000 |  | Template copies
| 3000 | 3000 | 3000 |  | 3000 | 3000 | 3000 |  | 0 | 0 | 0 |  | HgDNA (ng)
| poolB1 | poolB1 | poolB1 |  | Ec_uidA_6.x_Eco63_Eco60 | Efs_cpn60_1.x_Efs04_Efs01 | Efs_vanB_1.x_van10_van06 | [5 empty] | PA primers
| 30 | 30 | 30 |  | 30 | 30 | 30 | [5 empty] | Dilution factor
| Ec_uidA_x.2_Eco64_Eco66 | Efs_cpn60_x.1_Efs03_Efs02 | Efs_vanB_x.3_van30_van33 |  | Ec_uidA_x.2_Eco64_Eco66 | Efs_cpn60_x.1_Efs03_Efs02 | Efs_vanB_x.3_van30_van33 |  | Ec_uidA_x.2_Eco64_Eco66 | Efs_cpn60_x.1_Efs03_Efs02 | Efs_vanB_x.3_van30_van33 |  | ID primers
H | Eco | Efs vanB | Efs vanB |  | Eco | Efs vanB | Efs vanB |  | Eco | Efs vanB | Efs vanB |  | Template strain
| 5 | 5 | 5 |  | 5 | 5 | 5 |  | 5000 | 5000 | 5000 |  | Template copies
| 3000 | 3000 | 3000 |  | 3000 | 3000 | 3000 |  | 0 | 0 | 0 |  | HgDNA (ng)
| poolB1 | poolB1 | poolB1 |  | Ec_uidA_6.x_Eco63_Eco60 | Efs_cpn60_1.x_Efs04_Efs01 | Efs_vanB_1.x_van10_van06 | [5 empty] | PA primers
| 30 | 30 | 30 |  | 30 | 30 | 30 | [5 empty] | Dilution factor
| Ec_uidA_x.2_Eco64_Eco66 | Efs_cpn60_x.1_Efs03_Efs02 | Efs_vanB_x.3_van30_van33 |  | Ec_uidA_x.2_Eco64_Eco66 | Efs_cpn60_x.1_Efs03_Efs02 | Efs_vanB_x.3_van30_van33 |  | Ec_uidA_x.2_Eco64_Eco66 | Efs_cpn60_x.1_Efs03_Efs02 | Efs_vanB_x.3_van30_van33 |  | ID primers

## Plate Layout E131_2
Template Version = 1.0
Plate: | A81_E131_2
Date: | 2017-09-18
Comment:
Design Scientist | NC
Lab Scientist: | SP, NB, DP
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Variable
A |  | Kpn | Pmi | Spo |  | Kpn | Pmi | Spo |  | Kpn | Pmi | Spo | Template strain
|  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | Template copies
|  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | HgDNA (ng)
|  | poolB1 | poolB1 | poolB1 |  | Kp_khe_2.x_Kpn13_Kpn01 | Pm_zapA_1.x_Pmi01_Pmi05 | Spo_gp_1.x_Spo09_Spo13 |  |  |  |  | PA primers
|  | 30 | 30 | 30 |  | 30 | 30 | 30 |  |  |  |  | Dilution factor
|  | Kp_khe_x.1_Kpn03_Kpn02 | Pm_zapA_x.1_Pmi02_Pmi03 | Spo_gp_x.1_Spo03_Spo05 |  | Kp_khe_x.1_Kpn03_Kpn02 | Pm_zapA_x.1_Pmi02_Pmi03 | Spo_gp_x.1_Spo03_Spo05 |  | Kp_khe_x.1_Kpn03_Kpn02 | Pm_zapA_x.1_Pmi02_Pmi03 | Spo_gp_x.1_Spo03_Spo05 | ID primers
B |  | Kpn | Pmi | Spo |  | Kpn | Pmi | Spo |  | Kpn | Pmi | Spo | Template strain
|  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | Template copies
|  | 3000 | 3000 | 3000 |  | 3000 | 3000 | 3000 |  | 0 | 0 | 0 | HgDNA (ng)
|  | poolB1 | poolB1 | poolB1 |  | Kp_khe_2.x_Kpn13_Kpn01 | Pm_zapA_1.x_Pmi01_Pmi05 | Spo_gp_1.x_Spo09_Spo13 |  |  |  |  | PA primers
|  | 30 | 30 | 30 |  | 30 | 30 | 30 |  |  |  |  | Dilution factor
|  | Kp_khe_x.1_Kpn03_Kpn02 | Pm_zapA_x.1_Pmi02_Pmi03 | Spo_gp_x.1_Spo03_Spo05 |  | Kp_khe_x.1_Kpn03_Kpn02 | Pm_zapA_x.1_Pmi02_Pmi03 | Spo_gp_x.1_Spo03_Spo05 |  | Kp_khe_x.1_Kpn03_Kpn02 | Pm_zapA_x.1_Pmi02_Pmi03 | Spo_gp_x.1_Spo03_Spo05 | ID primers
C |  | Kpn | Pmi | Spo |  | Kpn | Pmi | Spo |  | Kpn | Pmi | Spo | Template strain
|  | 5 | 5 | 5 |  | 5 | 5 | 5 |  | 50 | 50 | 50 | Template copies
|  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | HgDNA (ng)
|  | poolB1 | poolB1 | poolB1 |  | Kp_khe_2.x_Kpn13_Kpn01 | Pm_zapA_1.x_Pmi01_Pmi05 | Spo_gp_1.x_Spo09_Spo13 |  |  |  |  | PA primers
|  | 30 | 30 | 30 |  | 30 | 30 | 30 |  |  |  |  | Dilution factor
|  | Kp_khe_x.1_Kpn03_Kpn02 | Pm_zapA_x.1_Pmi02_Pmi03 | Spo_gp_x.1_Spo03_Spo05 |  | Kp_khe_x.1_Kpn03_Kpn02 | Pm_zapA_x.1_Pmi02_Pmi03 | Spo_gp_x.1_Spo03_Spo05 |  | Kp_khe_x.1_Kpn03_Kpn02 | Pm_zapA_x.1_Pmi02_Pmi03 | Spo_gp_x.1_Spo03_Spo05 | ID primers
D |  | Kpn | Pmi | Spo |  | Kpn | Pmi | Spo |  | Kpn | Pmi | Spo | Template strain
|  | 5 | 5 | 5 |  | 5 | 5 | 5 |  | 50 | 50 | 50 | Template copies
|  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | HgDNA (ng)
|  | poolB1 | poolB1 | poolB1 |  | Kp_khe_2.x_Kpn13_Kpn01 | Pm_zapA_1.x_Pmi01_Pmi05 | Spo_gp_1.x_Spo09_Spo13 |  |  |  |  | PA primers
|  | 30 | 30 | 30 |  | 30 | 30 | 30 |  |  |  |  | Dilution factor
|  | Kp_khe_x.1_Kpn03_Kpn02 | Pm_zapA_x.1_Pmi02_Pmi03 | Spo_gp_x.1_Spo03_Spo05 |  | Kp_khe_x.1_Kpn03_Kpn02 | Pm_zapA_x.1_Pmi02_Pmi03 | Spo_gp_x.1_Spo03_Spo05 |  | Kp_khe_x.1_Kpn03_Kpn02 | Pm_zapA_x.1_Pmi02_Pmi03 | Spo_gp_x.1_Spo03_Spo05 | ID primers
E |  | Kpn | Pmi | Spo |  | Kpn | Pmi | Spo |  | Kpn | Pmi | Spo | Template strain
|  | 5 | 5 | 5 |  | 5 | 5 | 5 |  | 500 | 500 | 500 | Template copies
|  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | HgDNA (ng)
|  | poolB1 | poolB1 | poolB1 |  | Kp_khe_2.x_Kpn13_Kpn01 | Pm_zapA_1.x_Pmi01_Pmi05 | Spo_gp_1.x_Spo09_Spo13 |  |  |  |  | PA primers
|  | 30 | 30 | 30 |  | 30 | 30 | 30 |  |  |  |  | Dilution factor
|  | Kp_khe_x.1_Kpn03_Kpn02 | Pm_zapA_x.1_Pmi02_Pmi03 | Spo_gp_x.1_Spo03_Spo05 |  | Kp_khe_x.1_Kpn03_Kpn02 | Pm_zapA_x.1_Pmi02_Pmi03 | Spo_gp_x.1_Spo03_Spo05 |  | Kp_khe_x.1_Kpn03_Kpn02 | Pm_zapA_x.1_Pmi02_Pmi03 | Spo_gp_x.1_Spo03_Spo05 | ID primers
F |  | Kpn | Pmi | Spo |  | Kpn | Pmi | Spo |  | Kpn | Pmi | Spo | Template strain
|  | 5 | 5 | 5 |  | 5 | 5 | 5 |  | 500 | 500 | 500 | Template copies
|  | 3000 | 3000 | 3000 |  | 3000 | 3000 | 3000 |  | 0 | 0 | 0 | HgDNA (ng)
|  | poolB1 | poolB1 | poolB1 |  | Kp_khe_2.x_Kpn13_Kpn01 | Pm_zapA_1.x_Pmi01_Pmi05 | Spo_gp_1.x_Spo09_Spo13 |  |  |  |  | PA primers
|  | 30 | 30 | 30 |  | 30 | 30 | 30 |  |  |  |  | Dilution factor
|  | Kp_khe_x.1_Kpn03_Kpn02 | Pm_zapA_x.1_Pmi02_Pmi03 | Spo_gp_x.1_Spo03_Spo05 |  | Kp_khe_x.1_Kpn03_Kpn02 | Pm_zapA_x.1_Pmi02_Pmi03 | Spo_gp_x.1_Spo03_Spo05 |  | Kp_khe_x.1_Kpn03_Kpn02 | Pm_zapA_x.1_Pmi02_Pmi03 | Spo_gp_x.1_Spo03_Spo05 | ID primers
G |  | Kpn | Pmi | Spo |  | Kpn | Pmi | Spo |  | Kpn | Pmi | Spo | Template strain
|  | 5 | 5 | 5 |  | 5 | 5 | 5 |  | 5000 | 5000 | 5000 | Template copies
|  | 3000 | 3000 | 3000 |  | 3000 | 3000 | 3000 |  | 0 | 0 | 0 | HgDNA (ng)
|  | poolB1 | poolB1 | poolB1 |  | Kp_khe_2.x_Kpn13_Kpn01 | Pm_zapA_1.x_Pmi01_Pmi05 | Spo_gp_1.x_Spo09_Spo13 |  |  |  |  | PA primers
|  | 30 | 30 | 30 |  | 30 | 30 | 30 |  |  |  |  | Dilution factor
|  | Kp_khe_x.1_Kpn03_Kpn02 | Pm_zapA_x.1_Pmi02_Pmi03 | Spo_gp_x.1_Spo03_Spo05 |  | Kp_khe_x.1_Kpn03_Kpn02 | Pm_zapA_x.1_Pmi02_Pmi03 | Spo_gp_x.1_Spo03_Spo05 |  | Kp_khe_x.1_Kpn03_Kpn02 | Pm_zapA_x.1_Pmi02_Pmi03 | Spo_gp_x.1_Spo03_Spo05 | ID primers
H |  | Kpn | Pmi | Spo |  | Kpn | Pmi | Spo |  | Kpn | Pmi | Spo | Template strain
|  | 5 | 5 | 5 |  | 5 | 5 | 5 |  | 5000 | 5000 | 5000 | Template copies
|  | 3000 | 3000 | 3000 |  | 3000 | 3000 | 3000 |  | 0 | 0 | 0 | HgDNA (ng)
|  | poolB1 | poolB1 | poolB1 |  | Kp_khe_2.x_Kpn13_Kpn01 | Pm_zapA_1.x_Pmi01_Pmi05 | Spo_gp_1.x_Spo09_Spo13 |  |  |  |  | PA primers
|  | 30 | 30 | 30 |  | 30 | 30 | 30 |  |  |  |  | Dilution factor
|  | Kp_khe_x.1_Kpn03_Kpn02 | Pm_zapA_x.1_Pmi02_Pmi03 | Spo_gp_x.1_Spo03_Spo05 |  | Kp_khe_x.1_Kpn03_Kpn02 | Pm_zapA_x.1_Pmi02_Pmi03 | Spo_gp_x.1_Spo03_Spo05 |  | Kp_khe_x.1_Kpn03_Kpn02 | Pm_zapA_x.1_Pmi02_Pmi03 | Spo_gp_x.1_Spo03_Spo05 | ID primers

## Operator notes
Operator | Note
NC | Kox and Efm DNAs are swapped relative to primers
plate 1 col 4, 8 & 12; plate 2 col 1, 5 & 9 expected not to work
deleted on plate layout